## main warehouse office
Stage | Part# | Description | Notes | Quantity | Units | Unit Cost | Markup
260522_sewer service warehouse building office labour allowance |  | install new basins , connect to existing waste drains |  | 2 | ea |  | 10
260522_sewer service warehouse building office labour allowance |  | locate existing 100mm conect new WC |  | 5 | ea |  | 10
260522_sewer service warehouse building office labour allowance |  | locate existing 100mm conect new Basin |  | 2 | ea |  | 10
260522_sewer service warehouse building office labour allowance |  | locate existing 100mm conect newSHR |  | 2 | ea |  | 10
260522_sewer service warehouse building office labour allowance |  | connect new sink to existing waste |  | 1 | ea |  | 10
260522_sewer service warehouse building office labour allowance |  | locate existing drainbeneath slab and connect New FWG |  | 1 | ea |  | 10
260522_sewer service warehouse building office labour allowance |  | connect new 40mm waste into 100mm,connect water supply to new urinal |  | 1 | ea |  | 10
260525_New Warehouse Demolish drainage and water |  | cap existing FWG AND MAKE REDUNDANT |  | 2 | ea |  | 10
260525_New Warehouse Demolish drainage and water |  | REMPVE EXSTING BASIN , CAP EXISTING DRANAGE |  | 2 | ea |  | 10
260525_New Warehouse Demolish drainage and water |  | REMOVE EXISITNG BASIN CAP WASTE |  | 2 | ea |  | 10
260525_New Warehouse Demolish drainage and water |  | REMOVE Existing DF |  | 1 | ea |  | 10
260525_New Warehouse Demolish drainage and water |  | Remove existing WC, CAP DRAIANGE |  | 3 | ea |  | 10
260525_New Warehouse Demolish drainage and water |  | Remove existing sink and bench , cap drainage |  | 1 | ea |  | 10
260525_New Warehouse Demolish drainage and water |  | CAP SHR DRAINAGE |  | 1 | ea |  | 10
260525_New Warehouse Demolish drainage and water |  | REMOVE EXISTING URINAL CAP EXISTIING DDRANAGE |  | 2 | ea |  | 10
260525_New Warehouse Demolish WATER |  | REMOVE EXISTING HOT AND COLD WATER SUPPLY AND MAKE REDUNBDANT |  | 2 | ea |  | 10
260525_New Warehouse Demolish WATER |  | REMOVE EXSITNG DF WATER SUPPLY |  | 1 | ea |  | 10
260525_New Warehouse Demolish WATER |  | REMOVE COLD WATER SUPPLY (WC ) |  | 3 | ea |  | 10
260525_New Warehouse Demolish WATER |  | CAP WATER SUPPLY ( KITCHEN SINK ) |  | 1 | ea |  | 10
260525_New Warehouse Demolish WATER |  | REMOVE HOT AND COLD WATER SUPPLY PIPE WORK FROM SERVICE DUCT IN PREPARATION FOR NEW ROOM CONFIGURATION |  | 1 | ea |  | 10
260525_New Warehouse Demolish WATER |  | WATER SUPPLY REMOVE AND MADE REDUCDANT (SHR) |  | 1 | ea |  | 10
260525_New Warehouse Demolish WATER |  | REMOVE EXSISING COLD WATER AND MADE REDUNDANT (URINAL ) |  | 2 | ea |  | 10
260525_New Warehouse Demolish WATER |  | REMOVE EXSISING TAPWARE AND CAP FOR PROPSOED NEW |  | 1 | ea |  | 10
260525_New Warehouse Demolish WATER |  | WATER SUPPLY REMOVE AND MADE REDUCDANT (basin ) |  | 2 | ea |  | 10

## resgistry
260528_sewewr registry cost allowance | install new basins connoting to existing waste drains | 4 | ea | 10
260528_sewewr registry cost allowance | CONNECT NEW 'P' TRAP PAN TO EXISTING 100mm waste beneath floor ( old urinal drain) | 1 | ea | 10
260528_sewewr registry cost allowance | connect new sink to existing waste | 1 | ea | 10
260528_sewewr registry cost allowance | connect New WC's , Locate existing 100mm drain beneath slab floor | 4 | ea | 10
260528_sewewr registry cost allowance | connect new SHR RISER | 1 | ea | 10
260528_sewewr registry cost allowance | Locate exisitng 100mm drain and conenct 80x65 shr drain | 1 | ea | 10
260518_Registrty demolish sewer | CAP EXISTING SHR WASTE AND MAKE REDUNDANT | 1 | ea | 10
260518_Registrty demolish sewer | RETAIN EXISTING SHR WASTE IN PREPARATION FOR NEW SHR CONNECTION | 1 | ea | 10
260518_Registrty demolish sewer | CAP EXISTING SHR WASTE & FWG AND MAKE REDUNDANT | 1 | ea | 10
260518_Registrty demolish sewer | RETAIN EXISTING WC DRAIN IN PREPARATION FOR CONNECTION OF NEW | 4 | ea | 10
260518_Registrty demolish sewer | REMOVE EXISTING URINAL AND 50 WASTE PIPE | 1 | ea | 10
260518_Registrty demolish sewer | CAP EXISTING FWG AND MAKE REDUNDANT | 1 | ea | 10
260518_Registrty demolish sewer | REMOVE EXISTING BASIN CAP WASTE IN PREPARATION FOR NEW BASIN | 4 | ea | 10
260518_Registrty demolish sewer | EXISTING SINK AND BENCH TO BE REMOVED, CAP DRAINAGE FOR CONNECTION OF NEW | 1 | ea | 10
260518_Registrty demolish sewer | REMOVE EXISTING DF | 1 | ea | 10
260518_Registrty demolish sewer | REMOVE EXISTING SINK AND ASSOCIATED PIPEWORK, CAP WASTE AT BELOW FLOOR LEVEL | 1 | ea | 10
260518_Registry demolish and reconnect water | REMOVE EXISTING WATER SUPPLY TO SHR AND MAKE REDUNDANT | 2 | ea | 10
260518_Registry demolish and reconnect water | CAP WATER SUPPLY TO EXISTING SHR IN PREPARATION FOR CONNECTION OF NEW SHR TAPWARE | 1 | ea | 10
260518_Registry demolish and reconnect water | CAP WATER SUPPLY TO EXISTING WC's IN PREPARATION FOR CONNECTION OF NEW WC's | 5 | ea | 10
260518_Registry demolish and reconnect water | REMOVE EXISTING BASIN WATER SUPPLY AND CAP IN PREPARATION FOR NEW | 4 | ea | 10
260518_Registry demolish and reconnect water | REMOVE EXISTING SINK WATER SUPPLY AND CAP IN PREPARATION FOR NEW | 1 | ea | 10
260518_Registry demolish and reconnect water | REMOVE EXISTING DF WATER SUPPLY | 1 | ea | 10
260518_Registry demolish and reconnect water | REMOVE ALL WATER SUPPLY ASSOCIATED WITH THE EXISTING SINK AND MAKE REDUNDANT | 1 | ea | 10
260528_water reistry cost allowance | reconnect exisitng capped hot and coldwater supply to new SHR | 1 | ea | 10
260528_water reistry cost allowance | CONNECT NEW SHR WATER SUPPLY TO EXSING | 1 | ea | 10
260528_water reistry cost allowance | CONNECT EXISITNG CW SUPPLY IN SERVICE AREA TO NEW WC | 5 | ea | 10
260528_water reistry cost allowance | RECONNECTING EXISITNG CAPPED HOT AND COLD WATER SUPPLY TO NEW BASINS | 5 | ea | 10
260528_water reistry cost allowance | LOCATE AND CONNECT TO EXISTING 20mm water supply reconnect capped hot and cokd water supply to new sink | 1 | ea | 10
260528_water reistry cost allowance | reconnect capped how and cold water supply to nw sink and conect cw to New BWU | 1 | ea | 10

## workshop
260518_workshop demolish sewer issue 1 | REMOVE EXISTING WT EXISTING TRAPPED WASTE TO REMAIN AS IS | 1 | ea | 10
260518_workshop demolish sewer issue 1 | REMOVE BASIN AND 40mm BASIN PIPE AND MAKE REDUNDANT | 1 | ea | 10
260518_workshop demolish sewer issue 1 | EXISTING SINK AND BENCH TO BE REMOVED, CAP DRAINAGE FOR CONNECTION OF NEW | 1 | ea | 10
260518_workshop demolish sewer issue 1 | REMOVE EXISTING WC's | 3 | ea | 10
260518_workshop demolish sewer issue 1 | REMOVE EXISTING basins | 1 | ea | 10
260518_workshop demolish sewer issue 1 | RETAIN EXISTING SHR WASTE AND FWG IN PREPARATION OF NEW SHR INSTALL | 2 | ea | 10
260518_workshop demolish sewer issue 1 | CAP EXISTING FWG AND MAKE REDUNDANT | 1 | ea | 10
260518_workshop demolish sewer issue 1 | RETAINING EXISTING FWG | 1 | ea | 10
260518_workshop demolish sewer issue 1 | RETAINING EXISING URINAL DRAIN | 1 | ea | 10
260518_workshop demolish sewer issue 1 | EXISTING WC's SHALL BE REMOVED AND MADE REDUNDANT, PIPEWORK IN SERVICE DUCT SHALL BE CAPPED IN PREPARATION FOR CONNECTION OF NEW FIXTURES | 2 | ea | 10
260518_workshop demolish sewer issue 1 | EXISTING FWG's SHALL BE REMOVED AND MADE REDUNDANT,FWG PIPEWORK SHALL BE REMOVED OR CAPPED BENEATH FLOOR LEVEL PIPEWORK IN SERVICE DUCT SHALL BE CAPPED IN PREPARATION FOR CONNECTION OF NEW FIXTURES | 3 | ea | 10
260518_workshop demolish sewer issue 1 | EXISTING SHR's, SHALL BE REMOVED AND MADE REDUNDANT, SHR SHALL BE REMOVED OR CAPPED BENEATH FLOOR LEVEL. PIPEWORK IN SERVICE DUCT SHALL BE CAPPED IN PREPARATION FOR CONNECTION OF NEW FIXTURES | 3 | ea | 10
260518_Workshop demolish or cap , water issue 1 | REMOVE EXISTING BASIN WATER SUPPLY AND MAKE REDUNDANT | 2 | ea | 10
260518_Workshop demolish or cap , water issue 1 | CAP HOT AND COLD WATER SERVICES FOR CONNECTION OF NEW | 1 | ea | 10
260518_Workshop demolish or cap , water issue 1 | CAP WATER SUPPLY TO EXISTING WASH TROUGH IN PREPARATION FOR CONNECTION OF NEW BASIN | 1 | ea | 10
260518_Workshop demolish or cap , water issue 1 | CAP COLD WATER SUPPLY FOR CONNECTION OF NEW | 5 | ea | 10
260518_Workshop demolish or cap , water issue 1 | REMOVE AND/OR CAP EXISTING COLD WATER SUPPLY AND REMOVE HOT WATER PIPEWORK AND MAKE REDUNDANT | 5 | ea | 10
260518_workshop building sewer lablour allowance issue 1 | CONNECT EXISTING WASTE TO NEW WT | 1 | ea | 10
260518_workshop building sewer lablour allowance issue 1 | ONTRACTOR TO ENSURE TRAP SEAL IN FWG IS MAINTAINED IN ACCORDANCE WITH AS3500.2 | 2 | ea | 10
260518_workshop building sewer lablour allowance issue 1 | CONNECT NEW 50 SINK DRAIN INTO EXISTING 100 FLOOR DRAIN (MATERIAL CAPTURED IN SEWWER TAKE OFF ) | 1 | ea | 10
260518_workshop building sewer lablour allowance issue 1 | CONNECT NEW SHR DRAIN INTO EXISTING ( MATERIAL CAPTURE IN SEWER TAKE OFF ) | 1 | ea | 10
260518_workshop building sewer lablour allowance issue 1 | CONNECT 50 VENT INTO EXISTING 100 VENT (ABOVE SPILL LINE OF FIXTURE) (MATERIAL CAPTURE IN VENT ) | 1 | ea | 10
260518_workshop building sewer lablour allowance issue 1 | CONNECT INTO EXISTING 100 DRAIN AT FLOOR LEVEL (Material capture in sewer section) | 4 | ea | 10
260518_workshop building sewer lablour allowance issue 1 | LOCATE AND CONNECT INTO EXISTING 100 DRAIN( material capture in sewer section | 1 | ea | 10
260518_workshop building water labour allowance issue 1 | RECONNECT CAPPED HOT AND COLD WATER SUPPLY TO NEW SINK AND CONNECT CW TO NEW BWU-1 | 1 | ea | 10